
**DECLARATION OF** 

**PERFORMANCE**according to

Regulation (EU2015/1185) **LAVA**

No.001/2018

1.Unique identification code of the product type: Room heaters fired by wood fuel without hot water supply EN 13240:2006,representative **LAVA**(Family ceramic, basic, glass).

2.Type batch or serial number or any other element allowing identification of the construction product as required under Article 11(4): Serial No (see rating label on the product).

3.Intended use or uses of the construction product, in accordance with the applicable harmonized technical specification, as foreseen by the producer: Freestanding fireplace for intermittent burning without hot water supply, with fire doors closed.

4. Name, registered trade name or registered trade mark and contact address of the producer as required pursuant Article 11(5) Pro Termo doo,Jana Kolara 135,StaraPazova 22300,Serbia

5. Were applicable,name and contact address of the authorized representative whose mandate cover the tasks specified in Article 12 (2) -

6.System or systems of assessment and verification of constancy of performance of the construction Product as set out in Annex V: System 3

7. In case of the declaration of performance concerning a construction product covered by the harmonized standard:Termolab LTD, Novi Iskar, 18 Kesten str.1280 Novi Iskar, Rep.Bulgaria, Body:NB2033 Test report 46-1/12.01.2011

TERMOPLAM – LTD, NB 2608 Republic of Bulgaria, Sofia 1309, Residential Complex "Razsadnik-Konyovitsa", bl. 82, ent. B, 3rd floor, ap. 53., ANNEX Test report No.: 410T/08.01.2018 of Laboratory testing and calibration “LIPGEI” Sofia.

8. Declared performance:

-Harmonized technical specification EN 13240:2006

-Essential characteristic Performance

-Fire safety NPD

-Reaction to fire A1

-Distance to combustible materials Min.in mm sides(400) rear(400)front(800)

-Risk of burning fuel failing out Pass

-CO of exhaust gases CO 633 mg/Nm³

-Surface temp. Pass (operating tool)

-Electrical safety NPD

-Cleanability Pass

-Flue gas temp. At nominal heat output T 127.05 C

-Dust content according to BimSchV2 35mg/Nm³

-OGC of exhaust gases 74 mg/Nm³

-NOx of exhaust gases 109 mg/Nm³

-Nominal heat output 6.5 KW

-Room heating output 6.5 KW

-Energy efficiency 75%

9.The performance of the product identified in points 1 and 2 is in conformity with the declared performance in point 8.This declaration of performance is issued under the sole responsibility of the manufacturer identified in point 4.

08.01.2018.